## Slide 1: Lecture 4
Chemical methods of quantitative analysis.

## Slide 2: General concepts
Analytical signal - the average value of the results of measuring a physical quantity in the final stage of the analysis, functionally related to the content (concentration) of the determined component. Analytical signal - background signal and useful analytical signal.

## Slide 4: Classification of analysis methods
Chemical methods - based on the use of a chemical reaction.
  Titrimetric methods are methods based on measuring the amount of a reagent consumed for a complete reaction with an analyte.
  Gravimetry is a set of quantitative analysis methods based on measuring the mass of a substance or its constituents, isolated in pure form or in the form of compounds of precisely known composition.
Electrochemical methods - based on measuring the signal (potential, current, resistance, etc.) as a result of the interaction of the analyzed substance with electric current on the surface of the electrodes or in the near-electrode space.
Spectral methods of analysis - methods based on measuring the signal as a result of the interaction of the analyzed substance with electromagnetic radiation of a certain range.

## Slide 5: Classification of analysis methods
Chromatographic methods - hybrid methods of analysis based on the separation of analytes with subsequent detection of separated compounds.
Electrophoresis is a separation method based on the electrokinetic phenomenon of the movement of particles of a dispersed phase (colloidal or protein solutions) in a liquid or gaseous medium under the action of an external electric field, followed by detection.
Biological methods of analysis are based on the use of living organisms as indicators for the formation of an analytical signal. Protein-binding methods - methods based on the measurement of a signal resulting from the interaction of an analyte with biological polymers.
Mass spectrometry is a method for studying analytes, based on determining the ratio of mass to charge of ions formed during the ionization of sample components.
Thermal methods of analysis - a group of physical methods based on the study of the results of the interaction of a substance with a change in temperature (calorimetry, thermography, thermogravimetry).

## Slide 6
Calibration curve method.
  External standard method.
  Internal standard method.
Standards method (method of one or two standards).
Additive method.
Methods for calculating the content of the analyte

## Slide 7: Classification of titrimetric methods of analysis
By type of chemical reaction:
  Acid-base titration (protolytic reactions).
  Complexometric titration (formation of soluble complex compounds).
  Redox titration (Redox reactions).
  Precipitation titration (precipitation reactions).
By way of execution:
  Direct (titrant is added directly to the analyte).
  Back (an excess of titrant-1 is added to the analyte, then the excess of titrant-1 is titrated with titrant-2).
  Substituent titration (with the participation of an auxiliary reagent, a product is obtained that is titrated).
  Indirect (the analyte reacts with the reagent, and the reagent is titrated).

## Slide 8
By way of execution
Diredct titration
Back titration
Substitution titration
HNO3 + NaOH → NaNO3 + H2O
NaBr + AgNO3 → AgBr↓ + NaNO3
AgNO3 + NH4SCN → AgSCN↓ + NH4NO3
3NH4SCN + NH4Fe(SO4)2 → Fe(SCN)3 + 2(NH4)2SO4

## Slide 9: Acid-base titration (in aqueous, mixed and non-aqueous media)
Titrants :
Acid (HCl).
Alkalis (NaOH).
Standardization of titrants:
Indicators - based on azo dyes, sulfophthaleins or potentiometric equivalence pointing
9

## Slide 10: Acid-base titration indicators Titration curves (aqueous media)
yellow
red
colorless
colorless
colorless
crimson

## Slide 11: Acid-base titration (in aqueous medium)
Determination of nitrogen by the Kjeldahl method
Steps: mineralization (total or partial) or hydrolysis, stripping of ammonia (or alkylamines) with steam, absorption of ammonia with acid, titration of unreacted acid.

## Slide 12: Acid-base titration (in mixed media)
Used when the drug is poorly soluble in water (an organic solvent is used to improve the dissolution of the drug) or aqueous solutions of the drug show weak acidic or basic properties to determine the end point of the titration (ethanol or acetone is used to enhance the acidic or basic properties).
For example, metoclopramide (a weak conjugate acid) is titrated with 0.1M NaOH in a 90:10 water-ethanol medium. The resulting base of metoclopramide is also soluble in ethanol and does not interfere with precise potentiometric setting of the end point of the titration.

## Slide 13: Acid-base titration (in non-aqueous media)
Solvent Selection Criteria :
For bases, an acid is selected (anhydrous acetic, formic, etc.), for acids, a solvent with good proton acceptor properties.
Low value of autoprotolysis constant.
High dielectric value.
Good dissolving power.
No toxicity (or low toxicity), the possibility of obtaining a pure reagent.
For example, titration of a weak acid :

## Slide 14: Complexometric titration
A group of titrimetric methods based on the reactions of formation of soluble complex compounds.
Trilonometry (polydentate complexes - Trilon B or ethylenediaminetetraacetate - EDTA), indicator - metallochromic compound:

## Slide 15
Metallochromic/ Complexometric indicators

## Slide 17: Redox Titration
A group of titrimetric methods based on the use of Redox reactions.
2CCl3CH(OH)2 + 2I2 + 3Na2CO3 → 2CCl3COONa + 4NaI + 3H2O + 3CO2↑
I2 + 2Na2S2O3 → 2NaI + Na2S4O6
Iodometric titration. Back titration. Indicator - starch
Bromatometry. Back titration. Indicator - starch
KBrO3 + 5KBr + 3H2SO4 → 3Br2 + 3K2SO4 + 3H2O
2KI + Br2 → I2 + 2KBr
I2 + 2Na2S2O3 → 2NaI + Na2S4O6

## Slide 18
Cerimetry. titrate with cerium (IV) sulfate, indicator - feroin
Red color Blue color

## Slide 19
Nitritometry. Direct titration. Indicator – dipfenilamine

## Slide 20
Permangonatometry. Direct titration. Indicator – without indicator
5NO2– + 2MnO4– + 6H+ → 5NO3– + 2Mn2+ + 3H2O
MnO4–
MnO42–
MnO2
Mn2+
pH‹7
pH=7
pH›7

## Slide 21
(direct and substitution titration)
(back titration)
Calculation formulas in titrimetric analysis
Method of individual weights:
Pipetting method:
(direct and substitution titration)
Em – equivalent mass of test substance; CN – normal titrant concentration.
(back titration)
Titer of the titrant by the analyte

## Slide 22
Calculate the mass of a sample of glutamic acid (M.m. = 147.13), if 20.06 ml of 0.1 N sodium hydroxide was used for titration by direct alkalimetry, Cf = 1.0000. Percentage of active substance - 99.1 %.
Given :
М.м. = 147,13
V(titrant) = 20,06 ml
CN = 0,1N
КП = 1,0000
% = 99,1%
To find :
m sample - ?
Solution :
1. Calculation formula:
2. Reaction equation :
3. Calculation of the titer of the titrant for the analyte :
4. Calculation of the mass of the active substance :
m = 0,297 g

## Slide 23
Calculate the mass of a sample of potassium permanganate (M.m. = 158.04), if 23.68 ml of 0.1N sodium thiosulfate (Cf = 1.0000) was used for titration using back iodometry; percentage in the substance - 99.8%. The volume of the volumetric flask is 100 ml, the volume of the pipette is 25 ml.
Given :
М.м. = 158,04
V(titrant) = 23,68 ml
CN = 0,1Н
Cf = 1,0000
% = 99,8%
Vv.b. = 100 ml
Vp = 25 ml
To find :
m sample - ?
Solution :
1. Calculation formula :
2. Reaction equation :
3. Calculation of the titer of the titrant for the analyte :
4. Calculation of the mass of the active substance :
m = 0,3037 g
KMnO4 + Na2S2O3 + H2SO4 → MnSO4 + Na2SO4 + K2SO4 + H2O
MnO4- + 8H+ + 5e → Mn2+ + 4H2O
Em = 31,61
= 0,0032 g/ml