Ministry of Health of Ukraine

Odessa National Medical University

International Faculty

Department    of Organization and Economics of Pharmacy

with post-diploma specialization

Discipline       "The labor protection in industry"

Year of study   4         Term 8

GUIDELINES FOR PRACTICAL CLASS

Topic №7 “Work area air requirements. Microclimate of industrial premises."

Discussed and approved

at the meeting of the

Department of Organization and

Economics of Pharmacy

Minutes №1 “04/09 2023

Head of the Department,

As. Prof. Oksana BIELIAIEVA

2023

PRACTICAL CLASS № 7. REQUIREMENTS FOR AIR QUALITY IN WORKING AREAS

Assignment 1. List the main sources of indoor air quality problems. What factors influence the occurrence of health complaints among employees? (OSHA Technical Manual Indoor Air Quality Investigation) https://www.osha.gov/otm/section-3-health-hazards/chapter-2#iii:2_1

| The main sources of indoor air quality problems |  |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
|  | Factors influence the occurrence of health complaints among employees |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| 6 |  |
| 7 |  |
| 8 |  |
| 9 |  |

Assignment 2.  Explain the essence of these issues.

| Definition | Essence |
| --- | --- |
| Sick building syndrome |  |
| Building-related illnesses |  |

requirements for air quality in working areas

Assignment 3.  List the Major Indoor Air Contaminants

|  | The Major Indoor Air Contaminants | Sources | Acute health effects |
| --- | --- | --- | --- |

Assignment 4. Describe the employer's action plan to prevent air pollution in work areas.

|  | The employer's action plan to prevent air pollution in work areas |
| --- | --- |
| Engineering Recommendations |  |
| Administrative and Work Practice Recommendations |  |

Assignment 5. Heating, ventilation and air-conditioning (HVAC) play an important role in ensuring the manufacture of quality pharmaceutical products. The good manufacturing practice (GMP) requirements for the prevention of contamination and cross-contamination are an essential design consideration of an HVAC system. A well-designed HVAC system also provides for protection of the environment and the operators as well as comfortable working conditions

Explain the essence of the proposed terms / (Use WHO Guidelines on heating, ventilation and air-conditioning systems for non-sterile pharmaceutical products)

|  | Terms | Essense |
| --- | --- | --- |
|  | air changes per hour. = |  |
|  | air-handling unit (AHU). |  |
|  | airlock. |  |
|  | clean area (cleanroom). |  |
|  | closed system. |  |
|  | controlled area (classified area). |  |
|  | extract air |  |
|  | HEPA filter. High-efficiency particulate air filter. |  |
|  | HVAC. |  |
|  | infiltration |  |
|  | relative humidity |  |
|  | turbulent air flow |  |
|  | unidirectional airflow |  |

Assignment 6. Describe the full fresh air systems and recirculation systems/ (Use WHO Guidelines on heating, ventilation and air-conditioning systems for non-sterile pharmaceutical products)

Assignment 8. Solve the case.

A pharmaceutical company specializing in the production of medical products faced a problem of poor air quality in the production halls. Workers began experiencing various health problems such as allergies, eye and respiratory irritation, and other respiratory problems. Define the problem, statement and case solution

The essence of the problem: Case Objectives: Case Solution:

https://www.youtube.com/watch?v=kBmjuiiYTA8

https://www.youtube.com/watch?v=qKm7WpfITYk !!!!

5. Information required for the formation of knowledge-skills, which can be found in textbooks:

1.	Unguryan L. M., Bieliaieva A. I., Vishnitskaya I. V., Aleksandrova A. A. Texts of lectures on the discipline "Labor protection in the industry." Odessa: ONMedU, 2020. 111 p.

2.	Unguryan L. M., Bieliaieva A. I., Aleksandrova A. A., Vishnitskaya I. V. et al. Labor protection in the industry: workshop. Odessa: ONMedU, 2019. 48 p.

3.	Unguryan LM, Bieliaieva AI, Vishnitskaya IV, Aleksandrova AA and others. Labor protection in the industry: teaching aid. Odessa: ONMedU, 2019. 60 p.

4.	Voinalovych O. V., Golopura S. M. Occupational Safety and Health. Practical. Kyiv: Center of Educational Literature, 2018. 448 p.

5.	Phil Hughes, Ed Ferrett. Introduction to Health and Safety at Work: for the NEBOSH National General Certificate in Occupational Health and Safety. Routledge, 2015. 676 p.

6.	Law of Ukraine "On ensuring sanitary and epidemic well-being of the population" No. 4004-XII dated February 24, 1994 (As amended)

7.	Law of Ukraine "On the basic principles of state supervision of business entities" No. 877-V dated 05.04.2007. (As amended)

8.	Resolution of the Cabinet of Ministers of Ukraine No. 431 of 23.06.94r. "On the procedure for conducting state examination (verification) of technological, design, technical documentation for the manufacture of means of production for compliance with their regulations on labor protection"

9.	CMU No. 843 dated 10.09.2001r. "On the approval of the criterion by which the degree of risk from the implementation of activities in the field of public health protection is assessed and the determination of the frequency of implementation of planned measures of state supervision (control)."

10.	NPAOP 0.00-4.35-04 "Standard regulation on the labor protection service".

11.	DNAP 0.00-6.23-92 "Procedure for certification of workplaces for working conditions".

6. Questions for self-control

1. Microclimatic conditions

2. Humidity in the production room

3. Thermal (infrared) radiation

4. The main indicators of the microclimate of the air of the working area

5 . Resolution of the Cabinet of Ministers of Ukraine № 442 of August 1, 1992 " On the procedure for attestation of workplaces on working conditions"

6. Optimal microclimatic conditions

7 . Permissible microclimatic conditions