## Slide 1: Dentistry department. ergonomic.

## Slide 2: Plan
1. Organisation of dental care
2. The structure of the dental clinic.
3. The structure of the therapeutic Department.
4. Dental Cabinet
- the standards and requirements (size, interior, lighting, ventilation and heating system).
- organization unit of the doctor (installation, a table for the tray with the tools and materials, chair of the doctor)
-organization unit nurse or physician assistant
The concept of ergonomics. Ergonomics of a dentist.
5. Standard provision of Junior and medium personnel.

## Slide 3: Dental care
•Is one of the most mass kinds of specialized medical aid. In Soviet times it was based on the principles of statehood and planning, accessibility and free of charge, preventive, communication science and practice.
•Guide dental care is provided by Ministry of health of Ukraine, the regional, territorial, municipal and district health departments.
•In the organization of treatment and preventive care of the administrative territory of the important role belongs to the freelance chief dentist of the Ministry of health of Ukraine, oblast and etc

## Slide 4: Dental outpatient clinics
- independent dental clinics (regional, city, district);
- dental squad multidisciplinary clinics;
- dental surgeries;
- self-supporting stomatologic polyclinics;
- private.

## Slide 5: DENTAL CLINICS
•Departments, offices and dental laboratories are located in separate premises or, as an exception, in the adapted premises built in the building, subject to certain rules.
•In the basements of buildings can only be placed sanitary-household premises, personnel (dressing rooms, showers, storage etc), with natural light through the windows, as well as condensing units and air-ventilation chamber lit by artificial light.

## Slide 6: stomatological polyclinic
•Consists of: surgical, therapeutic, orthopedic the dental laboratory departments. In each dental clinic has a registry. If in a children's polyclinic Department, then it must have a separate entrance, closet, room for waiting, a bathroom and have no connect with the Department for adults.
•Therapeutic Department includes treatment rooms, physiotherapy room and sometimes x-ray. Often in the therapeutic Department allocate periodontogical cabinet.

## Slide 7: Stomatological cabinet
•According to the existing regulations, the area dental office one physician must be at least 14 m². If the office is set a few chairs, its size calculated on the basis of 7m² on each subsequent chair. If the additional chairs universal dental unit area per additional seat is increased to 10m².
•The height of the offices should be not less than 3 m, the depth unilaterally to natural light should not exceed 6 m

## Slide 8
•In therapeutic and orthopedic dental offices should take place not more than three seats with mandatory separation of jobs doctors opaque partitions height up to 1,5 m
•Wall dental surgeries should be smooth, without cracks. All of the angles and the junction of walls, ceiling and floor should be rounded, without ledges and decorations.

## Slide 9
•All applied for interior decoration materials should be only from the number of authorized Ministry of health for the use in construction. The color of the wall and floor surfaces in medical offices should be light tones with the reflection coefficient of not less than 40 % (salad, ochre). It is desirable to use a neutral light grey color, not hinder the correct perception of colors ,shades of color of the mucous membranes, skin, blood, teeth (natural and artificial), filling and prosthodontic materials.

## Slide 10
Floors in dental offices should lay polyvinylchloride rolled material ( linoleum ) and does not have cracks, why all seams are soldered with the help of special burners or high-frequency welding. The flooring is with linoleum should be up on the wall at the height of 5 - 10 cm and be terminated with a wall flush; plinth must be internal (under the linoleum)

## Slide 11
•In the newly organized dental polyclinics window dental surgeries should be oriented towards the Northern direction to avoid significant variations in brightness on the work places due to direct sunlight in other types of orientation, and overheating in the summer, especially in the southern areas of the country.
•When installing dental chairs in existing offices in two rows unilaterally to natural light should use artificial light even in the daytime in the second row of seats and doctors should periodically change their jobs.
•In the offices of one-way natural daylight dental chairs are set in the same number of light-carrier along the walls.

## Slide 12
•In buildings dental clinics, dental offices, offices and premises of dental laboratories should provide for overall trade-and-exhaust ventilation with air exchange ratio 3 times an hour to extract and 2 times per hour by the inflow. Should be easy to open transoms or vents in all areas.

## Slide 13: The equipment of the dental office
  •In dental offices therapeutic treatment are: dental set, the patient's chair, two rotating chair of the doctor and assistant table doctor (on wheels), wardrobe for storage of tools, autoclave, sink and sometimes compressor.

## Slide 14: Dental unit
•This range of electrical, mechanical and hydraulic elements, transforming external energy into the energy of dental instruments and designed to ensure the required conditions for dental treatment.

## Slide 15: elements of the dental unit
•armchair of the patient
•block a doctor (has electric and air actuator for work tips
•oil-free compressor is connected to the water supply and sanitation, which are equipped with air cooling and water cooling boron)
•block assistant (hydraulic system and aspiration system «saliva ejector», «vacuum»)
•operating dental light and pedal (or pedal) a doctor. Furthermore, the system may be equipped with additional devices and equipment: the system of illuminating the cavity via the tip, the built-in lamp for polymerization

## Slide 16: possible additions
•Illumination system carious cavity through a tip, built-in lamp for polymerization light-hardening materials, computer radiovisiograph, endodontic microscope and tip, scaler, negatoscope

## Slide 17: Dental unit must comply with the following requirements
•Dental unit design must meet the requirements of ergonomics and maximally satisfy the individual physiological characteristics of a dentist
•The design of the dental unit must meet the requirements of a particular treatment process (quite «right» of functions, there is no excess, the «extra» functions) ;
•Installation must be comfortable and safe for the patient, her appearance and comfort should have a positive influence on the subjective perception of patient quality of provided dental care;
•Cost and installation design should correspond to the price category and the total interior clinics, as well as personal taste doctor
•Brand, design and installation design should enhance the professional image of the doctor in the eyes of patients, and in the eyes of colleagues - stomatologists;
•Installation must be reliable, the risk of equipment failure should be minimal;
•Installation should be ea sy to repair, it must be affordable service, delivery time of spare parts should be minimal. In accordance with this requirement, while purchasing a system, be sure to provide the possibility and availability, service, warranty and post-warranty repair.

## Slide 18: Dental units, three classes
•Economy class - installation of low cost, high enough quality, but restricted to the minimum necessary the doctor amount of functions. Also they are convenient for the doctor and the patient, functional, but not differ exclusive design.
•Business - class - installation of an average price category, improved quality, to enable you to use any tool and achievement of required adjustments. Such installations have additional functions and features additional tools (photo, ultrasound, lighting tips etc). In addition, these installations are completed with more comfortable and ergonomic control system with functions of programming.
•Elite class. In this class includes the installation of a high-price category, created on the basis of the latest technologies and original engineering and design solutions. These installations have a number of additional features are equipped with additional tools, computers and control system with functions of programming. Comfort of such installations to the doctor and the patient improved, they are highly functional, differ exclusive design

## Slide 19: Ergonomics in dentistry
•The term «ergonomics» is composed of two Greek words - «ergon» (work) and nomos (law). For the first time a Polish scholar Yastshembovskiy in 1857.
•Ergonomics is the science of functional possibilities of the person in work processes with the purpose of creation of the optimal labor conditions, making the work of high-performance and reliable at the same time gives a person the necessary facilities and retain its strength, health, work capacity.

## Slide 20: ergonomics in dentistry solves the following problems:
•Explores the influence of various factors of industrial environment on the functional status and health of the person and on this basis developing effective protection from their harmful effects.
•Explores the anthropometric, physiological data of the person and on this basis developing requirements for the design and installation jobs.
•Examines the physiological and psychological data work analyzers and on this basis, evaluates the effectiveness of different types of displays used in the equipment design.

## Slide 21: The impact of ergonomics at improving dental instruments and to facilitate working with him was reflected in the following directions:
- in standardization to reduce the number of tools;
- in a special laying tools, convenient for the doctor and nurses;
- in the construction of arms instruments, taking into account anatomic-physiological peculiarities of running a brush of a doctor;
the color marking of arms instruments minimal size of the working parts to facilitate their discernment;
- in the corresponding modes, storage, disinfection and sterilization.

## Slide 22: The main problems of ergonomics in dentistry
1. Engineering equipment, furniture, clothing and tools must take into account the anthropometric measurements and anatomical and physiological characteristics of the body of the healthcare worker.
2. Rational device dental offices and business premises on the basis of scientifically - grounded standards.
3. Оptimal workplace organization personnel.
4. Differentiation ergonomic studies in accordance with the profile of the profession.
5. Improve staffing by medical and professional selection of applicants based on the profile of the future of clinical work.
6. Proper organization of work and rest regime, professional study of factors harmful for health, prevention of occupational diseases.